{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["設計内容説明書"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":9,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"設計内容説明書","index":0,"n_rows":358,"n_cols":37,"rows_kept":358,"cut":false,"hidden":false,"merged":[[105,23,105,29],[272,33,272,34],[273,33,273,34],[274,33,274,34],[288,11,288,12],[200,10,223,12],[140,27,140,30],[140,18,140,20],[142,18,142,31],[302,18,302,19],[302,25,302,26],[281,24,281,25],[282,24,282,25],[283,24,283,25],[286,13,286,16],[287,25,288,31],[291,18,291,25],[292,18,292,25],[284,27,284,28],[303,18,303,20],[303,27,303,31],[303,22,303,25],[303,13,307,16],[271,35,317,36],[300,21,300,31],[302,29,302,30],[302,21,302,22],[313,25,313,31],[277,13,285,16],[175,0,223,0],[222,13,223,16],[200,33,200,34],[201,33,201,34],[202,33,202,34],[203,33,203,34],[175,5,175,6],[176,1,177,3],[178,1,178,3],[175,10,199,12],[218,13,220,16],[219,29,219,31],[220,18,220,28],[220,29,220,31],[212,19,212,27],[213,28,213,31],[135,33,135,34],[139,18,139,31],[135,23,135,30],[136,23,136,30],[200,35,223,36],[214,18,214,31],[215,18,215,31],[216,18,216,31],[141,22,141,25],[141,27,141,30],[141,18,141,20],[135,18,135,19],[136,18,136,19],[137,18,137,19],[138,18,138,19],[140,22,140,25],[123,33,123,34],[124,33,124,34],[125,33,125,34],[126,33,126,34],[134,18,134,19],[132,13,139,16],[134,23,134,30],[132,33,132,34],[133,33,133,34],[134,33,134,34],[123,13,131,16],[130,19,130,23],[124,25,124,30],[137,23,137,30],[138,23,138,30],[131,18,131,31],[126,19,126,23],[129,19,129,23],[127,19,127,23],[126,25,126,30],[127,25,127,30],[125,25,125,30],[118,5,119,6],[118,7,119,9],[118,10,118,12],[120,13,122,16],[120,35,122,36],[120,5,120,6],[106,18,106,31],[107,18,107,31],[108,18,108,31],[118,35,119,36],[119,1,119,4],[119,10,119,12],[119,13,119,16],[119,17,119,31],[119,32,119,34],[118,1,118,4],[98,13,98,16],[91,10,94,12],[99,1,105,4],[129,25,129,30],[130,25,130,30],[114,10,115,12],[106,13,107,16],[108,13,109,16],[112,13,113,16],[114,13,115,16],[101,33,101,34],[114,18,114,31],[112,33,112,34],[113,33,113,34],[99,10,100,16],[101,10,102,16],[103,10,105,16],[112,10,113,12],[109,19,109,31],[108,10,109,12],[99,35,105,36],[112,18,112,31],[111,18,111,31],[106,33,106,34],[107,33,107,34],[108,33,108,34],[109,33,109,34],[110,33,110,34],[111,33,111,34],[99,33,99,34],[72,35,98,36],[114,33,114,34],[115,33,115,34],[106,35,115,36],[96,18,96,27],[95,18,95,27],[95,28,96,31],[95,33,95,34],[92,33,92,34],[93,33,93,34],[97,33,97,34],[93,18,93,20],[93,23,93,24],[304,18,304,20],[304,22,304,25],[304,27,304,31],[118,13,118,34],[103,17,103,25],[93,13,94,16],[100,33,100,34],[96,33,96,34],[97,13,97,16],[97,18,97,31],[94,18,94,31],[91,18,91,20],[91,23,91,26],[91,28,91,31],[92,23,92,24],[92,26,92,29],[93,26,93,27],[88,17,88,19],[88,25,88,31],[89,19,89,21],[89,23,89,25],[89,28,89,30],[95,13,96,16],[93,29,93,30],[98,10,98,12],[97,10,97,12],[110,18,110,31],[106,10,107,12],[306,22,306,25],[306,19,306,20],[306,27,306,31],[110,10,111,12],[95,10,96,12],[271,0,317,0],[83,17,83,18],[86,17,86,18],[107,1,115,4],[106,0,115,0],[99,5,105,9],[72,0,105,0],[149,13,150,16],[149,11,160,12],[151,13,160,16],[87,23,87,30],[320,1,320,4],[320,5,321,6],[320,7,321,9],[320,10,320,12],[320,13,320,34],[321,1,321,4],[308,10,311,12],[312,10,317,12],[87,20,87,21],[81,33,81,34],[82,33,82,34],[83,33,83,34],[84,33,84,34],[85,23,85,30],[86,20,86,24],[86,26,86,31],[85,20,85,21],[342,0,342,6],[342,7,342,18],[342,19,342,26],[342,27,342,36],[85,33,85,34],[83,10,87,12],[88,33,88,34],[163,19,163,22],[321,10,321,12],[321,13,321,16],[76,19,76,31],[77,18,77,31],[78,18,78,19],[78,21,78,30],[75,33,75,34],[320,35,321,36],[321,17,321,31],[321,32,321,34],[79,33,79,34],[80,33,80,34],[45,13,51,16],[54,28,54,30],[55,28,55,30],[39,13,40,16],[83,13,87,16],[72,18,72,31],[73,19,73,31],[74,19,74,31],[79,13,82,16],[82,21,82,30],[23,10,31,12],[30,5,38,6],[27,2,27,4],[26,1,26,4],[22,13,22,16],[10,10,22,12],[10,13,12,16],[13,13,16,16],[17,13,19,16],[12,33,12,34],[15,21,15,30],[12,21,12,30],[16,21,16,30],[14,33,14,34],[18,21,18,30],[343,0,343,6],[343,19,343,26],[345,0,345,6],[345,19,345,26],[344,0,344,6],[344,19,344,26],[39,33,39,34],[40,33,40,34],[10,0,39,0],[39,1,40,9],[39,10,40,12],[33,33,33,34],[11,33,11,34],[10,33,10,34],[31,1,33,4],[25,18,25,25],[47,33,47,34],[31,17,31,18],[29,20,29,30],[34,23,34,24],[34,26,34,30],[35,22,35,23],[46,28,46,29],[45,33,45,34],[36,22,36,23],[46,33,46,34],[62,2,62,4],[58,10,62,12],[58,13,61,16],[59,19,59,21],[31,20,31,30],[37,21,37,22],[38,18,38,19],[43,13,43,34],[46,19,46,20],[46,22,46,23],[2,14,2,36],[67,13,67,16],[2,0,2,13],[3,0,3,13],[4,0,4,13],[26,27,26,28],[58,33,58,34],[38,21,38,22],[45,0,67,0],[39,35,40,36],[5,0,5,13],[24,33,24,34],[9,1,9,4],[8,5,9,6],[9,13,9,16],[8,1,8,4],[8,10,8,12],[9,10,9,12],[8,7,9,9],[20,13,21,16],[59,1,61,4],[3,14,3,36],[4,14,4,36],[5,14,5,36],[8,35,9,36],[8,13,8,34],[9,17,9,31],[9,32,9,34],[10,18,10,31],[29,17,29,18],[52,35,57,36],[58,35,62,36],[63,35,67,36],[45,10,51,12],[53,23,53,26],[54,23,54,26],[55,23,55,26],[56,23,56,26],[46,25,46,26],[54,33,54,34],[58,3,58,4],[60,33,60,34],[11,1,11,4],[15,1,15,4],[21,5,21,6],[62,13,62,16],[26,18,26,25],[52,33,52,34],[53,33,53,34],[61,33,61,34],[45,5,45,6],[55,2,55,4],[12,1,12,4],[23,1,23,4],[19,5,19,6],[16,1,16,4],[14,3,14,4],[22,3,22,4],[46,1,51,4],[25,3,25,4],[19,21,19,30],[25,27,25,28],[25,29,25,30],[26,29,26,30],[346,0,346,6],[346,19,346,26],[35,1,38,4],[35,18,35,20],[49,28,49,30],[50,28,50,30],[347,0,347,6],[347,19,347,26],[27,27,27,28],[27,29,27,30],[23,13,27,16],[27,18,27,25],[24,18,24,25],[28,13,31,16],[43,7,44,9],[43,10,43,12],[348,0,348,6],[348,19,348,26],[349,0,349,6],[349,19,349,26],[32,10,38,12],[32,13,38,16],[33,18,33,21],[45,3,45,4],[43,1,43,4],[43,5,44,6],[10,35,22,36],[23,35,31,36],[32,35,38,36],[32,33,32,34],[23,33,23,34],[24,27,24,28],[24,29,24,30],[34,33,34,34],[37,28,37,29],[38,28,38,29],[43,35,44,36],[44,1,44,4],[44,10,44,12],[44,13,44,16],[44,17,44,31],[44,32,44,34],[351,19,351,26],[35,29,35,31],[36,25,36,30],[35,25,35,27],[50,19,50,21],[48,19,48,26],[48,28,48,30],[37,24,37,25],[38,25,38,26],[75,19,75,31],[45,35,51,36],[50,23,50,26],[52,3,52,4],[53,18,53,20],[53,1,54,4],[52,5,57,6],[52,10,57,12],[52,13,57,16],[53,28,53,30],[56,28,56,30],[57,18,57,19],[57,21,57,30],[59,33,59,34],[63,33,63,34],[64,33,64,34],[352,0,352,6],[352,19,352,26],[66,33,66,34],[65,33,65,34],[72,33,72,34],[64,1,66,4],[63,10,67,12],[63,13,64,16],[65,13,66,16],[63,3,63,4],[88,10,89,12],[88,13,89,16],[73,1,74,4],[70,13,70,34],[72,5,72,6],[72,10,78,12],[72,13,78,16],[353,0,353,6],[353,19,353,26],[121,1,122,3],[123,1,123,3],[350,0,350,6],[350,19,350,26],[70,35,71,36],[71,1,71,4],[71,10,71,12],[71,13,71,16],[71,17,71,31],[71,32,71,34],[70,1,70,4],[70,5,71,6],[70,7,71,9],[70,10,70,12],[73,33,73,34],[74,33,74,34],[89,33,89,34],[90,33,90,34],[91,33,91,34],[90,10,90,12],[90,13,90,16],[90,18,90,31],[91,13,92,16],[79,10,82,12],[168,10,168,12],[167,13,167,16],[168,13,168,16],[164,13,166,16],[162,13,163,16],[120,10,122,12],[140,13,142,16],[143,13,145,16],[146,13,148,16],[143,11,148,12],[142,33,142,34],[143,33,143,34],[144,33,144,34],[149,33,149,34],[150,33,150,34],[161,10,167,12],[161,13,161,16],[148,19,148,26],[145,19,145,26],[163,24,163,30],[166,19,166,22],[161,33,161,34],[162,33,162,34],[163,33,163,34],[164,33,164,34],[355,0,355,6],[355,19,355,26],[120,0,168,0],[140,33,140,34],[141,33,141,34],[123,35,168,36],[193,18,193,22],[166,24,166,30],[156,19,156,31],[157,19,157,31],[123,25,123,30],[173,35,174,36],[175,35,199,36],[180,33,180,34],[151,33,151,34],[174,1,174,4],[174,10,174,12],[174,13,174,16],[187,13,189,16],[191,18,191,22],[173,1,173,4],[173,5,174,6],[173,7,174,9],[173,10,173,12],[180,18,180,24],[198,13,199,16],[356,0,356,6],[356,19,356,26],[211,13,217,16],[205,19,205,27],[226,13,226,34],[202,28,202,31],[354,0,354,6],[354,19,354,26],[351,0,351,6],[357,0,357,6],[357,19,357,26],[173,13,173,34],[183,13,186,16],[174,17,174,31],[174,32,174,34],[180,29,180,31],[180,25,180,27],[178,33,178,34],[179,33,179,34],[202,19,202,27],[201,19,201,27],[200,13,202,16],[176,25,176,26],[177,25,177,26],[175,13,177,16],[178,13,182,16],[195,18,195,22],[192,13,193,16],[194,13,195,16],[205,28,205,31],[203,13,205,16],[207,19,207,27],[208,28,208,31],[210,19,210,30],[206,13,210,16],[204,19,204,27],[228,35,236,36],[228,5,236,6],[237,19,237,22],[237,33,237,34],[238,33,238,34],[237,35,244,36],[239,33,239,34],[240,33,240,34],[237,5,244,6],[239,10,244,12],[232,10,236,12],[228,33,228,34],[229,33,229,34],[230,33,230,34],[236,14,236,16],[226,35,227,36],[229,13,230,16],[231,14,231,16],[228,10,231,12],[229,18,229,31],[227,1,227,4],[227,10,227,12],[227,13,227,16],[227,17,227,31],[227,32,227,34],[226,1,226,4],[226,5,227,6],[226,7,227,9],[226,10,226,12],[294,28,294,31],[271,33,271,34],[246,26,246,27],[249,19,249,20],[249,22,249,23],[247,26,247,27],[247,33,247,34],[248,29,248,30],[248,22,248,23],[248,24,248,25],[245,35,249,36],[247,3,247,4],[246,29,246,30],[245,33,245,34],[246,33,246,34],[247,29,247,30],[247,24,247,25],[248,17,248,18],[248,19,248,20],[249,17,249,18],[228,0,244,0],[245,0,249,0],[245,5,249,6],[245,10,246,16],[247,10,249,16],[245,3,245,4],[232,2,232,3],[240,14,240,16],[239,2,239,4],[234,13,235,16],[250,10,251,12],[242,14,242,16],[244,14,244,16],[229,1,231,3],[261,29,261,30],[247,22,247,23],[234,18,234,31],[247,17,247,18],[248,26,248,27],[247,19,247,20],[262,28,262,30],[253,2,253,4],[250,28,250,30],[253,29,253,30],[252,25,252,30],[253,27,253,28],[254,28,254,30],[256,25,256,30],[257,27,257,28],[251,1,251,4],[265,27,265,28],[265,29,265,30],[250,13,253,16],[254,13,257,16],[258,13,261,16],[262,13,265,16],[257,29,257,30],[258,28,258,30],[260,25,260,30],[261,27,261,28],[250,33,250,34],[251,33,251,34],[252,33,252,34],[250,35,266,36],[250,0,266,0],[265,2,265,4],[264,2,264,4],[263,2,263,4],[262,2,262,4],[264,25,264,30],[322,5,326,6],[325,2,325,4],[323,1,324,4],[324,27,324,30],[326,27,326,30],[330,27,330,30],[322,27,322,30],[338,27,338,30],[336,27,336,30],[334,27,334,30],[332,27,332,30],[328,27,328,30],[322,33,322,34],[323,33,323,34],[324,33,324,34],[322,35,339,36],[322,0,339,0],[269,1,269,4],[269,5,270,6],[269,7,270,9],[269,10,269,12],[269,13,269,34],[272,1,273,4],[274,2,274,4],[269,35,270,36],[270,32,270,34],[271,13,276,16],[271,5,271,6],[271,18,271,21],[271,22,271,30],[271,10,276,12],[284,19,284,26],[285,19,285,23],[285,24,285,30],[270,1,270,4],[270,10,270,12],[270,13,270,16],[270,17,270,31]]}
[]
["設計内容説明書【一戸建ての住宅（木造用）】",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"（第一面）"]
["評価対象建築物の名称"]
["評価対象建築物の所在地"]
["設計者等の氏名"]
["評価者氏名",null,null,null,null,null,null,null,null,null,null,null,null,null,"㈲広島県東部建築確認センター"]
[]
["―評価項目―　"]
[null,"性能表示　　　　",null,null,null,"自己\n評価\n結果",null,"評価方法",null,null,"確認",null,null,"設計内容説明欄",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"設計\n内容\n確認欄"]
[null,"事項",null,null,null,null,null,null,null,null,"項目",null,null,"項目",null,null,null,"設計内容",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"記載図書"]
["1構造の安定","１－１",null,null,null,"等級",null,null,null,null,"構造躯体及び基礎等",null,null,"地震力及び\n風圧力",null,null,null,null,"壁量計算による（階数が２以下の木造の建築物における基準）",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"伏図"]
[null,"耐震等級",null,null,null,null,3,null,"基準",null,null,null,null,null,null,null,null,null,"許容応力度計算による(ルート1)",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"計算書"]
[null,"（倒壊等防止）",null,null,null,null,2,null,"特認",null,null,null,null,null,null,null,null,null,"その他",null,"（",null,null,null,null,null,null,null,null,null,null,"）"]
[null,null,"評価対象外",null,null,null,1,null,"型式",null,null,null,null,"基礎",null,null,null,null,"建築基準法の規定による"]
[null,"１－２",null,"選択しない",null,"等級",null,null,"認証",null,null,null,null,null,null,null,null,null,"許容応力度計算による"]
[null,"耐震等級",null,null,null,null,3,null,null,null,null,null,null,null,null,null,null,null,"スパン表",null,"（",null,null,null,null,null,null,null,null,null,null,"）"]
[null,"（損傷防止）",null,null,null,null,2,null,null,null,null,null,null,null,null,null,null,null,"その他",null,"（",null,null,null,null,null,null,null,null,null,null,"）"]
[null,null,"評価対象外",null,null,null,1,null,null,null,null,null,null,"横架材",null,null,null,null,"許容応力度計算による"]
[null,"１－３",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"スパン表",null,"（",null,null,null,null,null,null,null,null,null,null,"）"]
[null,"その他",null,null,null,"免震",null,null,null,null,null,null,null,null,null,null,null,null,"その他",null,"（",null,null,null,null,null,null,null,null,null,null,"）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"免震建築物",null,null,null,null,"平成12年建設省告示第2009号第1第3号による免震建築物"]
[null,null,null,null,null,"その他",null,null,null,null,null,null,null,null,null,null,null,null,"免震層及び免震材料の維持管理に関する図書の作成"]
[null,"１－４",null,"選択しない",null,"等級",null,null,null,null,null,null,null,"認定書等活用",null,null,null,null,"認定書等の活用(第四面に記入）"]
[null,"耐風等級",null,null,null,null,2,null,null,null,"地盤\n（１－６）",null,null,"地盤又は杭の許容支持力等",null,null,null,"・許容支持力等",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"調査書"]
[null,null,null,null,null,null,1,null,null,null,null,null,null,null,null,null,null,null,"地盤の許容応力度",null,null,null,null,null,null,null,"[",null,null,"kN/㎡]"]
[null,"１－５",null,"選択しない",null,"等級",null,null,null,null,null,null,null,null,null,null,null,null,"杭の許容支持力",null,null,null,null,null,null,null,"[",null,null,"kN/本]"]
[null,"耐積雪等級",null,null,null,null,2,null,null,null,null,null,null,null,null,null,null,null,"杭状改良地盤の許容支持力度",null,null,null,null,null,null,null,"[",null,null,"kN/㎡]"]
[null,null,"該当区域外",null,null,null,1,null,null,null,null,null,null,null,null,null,null,null,"杭状改良地盤の許容支持力",null,null,null,null,null,null,null,"[",null,null,"kN/本]"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"及びその設定方法",null,null,null,"・地盤調査方法等"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"方法",null,"（",null,null,null,null,null,null,null,null,null,null,null,"）"]
[null,"１－６",null,null,null,"設計\n内容\n説明\n欄と\n同様",null,null,null,null,null,null,null,null,null,null,null,null,"地盤改良有"]
[null,"地盤又は杭の許容支持力等及びその設定方法",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"方法",null,"（",null,null,null,null,null,null,null,null,null,null,null,"）"]
[null,null,null,null,null,null,null,null,null,null,"基礎\n（１－７）",null,null,"基礎の構造方法及び形式等",null,null,null,null,"直接基礎",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"伏図"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"・","基礎の構造方法",null,null,null,null,"鉄筋コンクリート造",null,null,null,null,null,null,null,null,null,"仕様書"]
[null,"１－7",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"その他",null,"（",null,null,null,null,null,"）"]
[null,"基礎の構造方法及び形式等",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"・","基礎の形式",null,null,null,"布基礎",null,null,"べた基礎",null,null,null,"独立基礎"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"その他",null,"（",null,null,null,null,null,null,"）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"杭基礎",null,null,"杭種",null,null,"支持杭",null,null,null,"摩擦杭"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"杭径",null,"[",null,null,"cm]",null,"杭長",null,"[",null,null,"m]"]
[null,"長期使用構造等の基準",null,null,null,null,null,null,null,null,"限界耐力\n計算",null,null,"安全限界変形の検討",null,null,null,null,"限界耐力計算による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"各階の安全限界変形の基準に適合"]
["設計内容説明書【一戸建ての住宅（木造用）】",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"（第二面）"]
["―評価項目―　"]
[null,"性能表示　　　　",null,null,null,"自己\n評価\n結果",null,"評価方法",null,null,"確認",null,null,"設計内容説明欄",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"設計\n内容\n確認欄"]
[null,"事項",null,null,null,null,null,null,null,null,"項目",null,null,"項目",null,null,null,"設計内容",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"記載図書"]
["２火災時の安全","２－１",null,"選択しない",null,"等級",null,null,null,null,"感知警報装置",null,null,"感知部分の設置場所等",null,null,null,"・","基準に適合した感知部分の設置場所",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕上表"]
[null,"感知警報装置設置等級\n（自住戸火災時）",null,null,null,null,4,null,"基準",null,null,null,null,null,null,null,null,null,null,"寝室",null,null,"居室",null,null,"台所等",null,null,"階段等",null,null,null,null,"平面図"]
[null,null,null,null,null,null,3,null,"特認",null,null,null,null,null,null,null,null,"・","警報を行う部分"]
[null,null,null,null,null,null,2,null,"型式",null,null,null,null,null,null,null,null,"（",null,"1mで70dB以上の警報音を1分継続可能",null,null,null,null,null,null,null,null,"その他同等",null,null,"）"]
[null,null,null,null,null,null,1,null,"認証",null,null,null,null,null,null,null,null,"（",null,"居室を有する各階設置",null,null,null,null,null,null,null,null,"階数が１",null,null,"）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"（",null,"150㎡毎設置",null,null,null,"350㎡毎設置",null,null,null,null,"その他",null,null,"）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"（",null,"ネットワーク化されている",null,null,null,null,null,null,null,null,null,null,null,"）"]
[null,"２－４",null,"選択しない",null,"設計\n内容\n説明\n欄と\n同様",null,null,null,null,"脱出対策\n（３階以上）",null,null,"避難器具の種類",null,null,null,null,"直通階段に直接通ずるバルコニー",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕上表"]
[null,"脱出対策\n（火災時）",null,null,null,null,null,null,"基準",null,null,null,null,null,null,null,null,null,"避難器具",null,null,"（",null,"避難ロープ",null,null,null,null,"避難はしご",null,null,null,null,"平面図"]
[null,null,null,null,null,null,null,null,"特認",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"避難用タラップ",null,null,null,null,"避難橋"]
[null,null,"該当なし",null,null,null,null,null,"型式",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"滑り棒",null,null,null,null,"滑り台"]
[null,null,null,null,null,null,null,null,"認証",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"緩降機",null,null,null,null,"救助袋",null,null,"）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"その他",null,"（",null,null,null,null,null,null,null,null,null,null,"）"]
[null,"２－５",null,"選択しない",null,"等級",null,null,null,null,"開口部の耐火性能\n（耐火性能が最も低いもの）",null,null,"防火設備の仕様等",null,null,null,"・外壁の開口部の耐火性能",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕上表"]
[null,"耐火等級\n（延焼のおそれのある部分\n・開口部）",null,null,null,null,3,null,"基準",null,null,null,null,null,null,null,null,null,null,"耐火時間",null,null,"（",null,"60分以上",null,null,null,"20分以上",null,null,null,null,"建具表"]
[null,null,null,null,null,null,2,null,"特認",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"その他",null,null,"）"]
[null,null,null,null,null,null,1,null,"型式"]
[null,null,"該当なし",null,null,null,null,null,"認証",null,null,null,null,"認定書等活用",null,null,null,null,"認定書等の活用(第七面に記入）"]
[null,"２－６",null,"選択しない",null,"等級",null,null,null,null,"外壁・軒裏の構造\n（耐火性能が最も低いもの）",null,null,"外壁の構造等",null,null,null,"・外壁の耐火時間",null,null,null,null,"（",null,"60分以上",null,null,null,"45分以上",null,null,null,null,"仕上表"]
[null,"耐火等級\n（延焼のおそれのある部分\n・開口部以外）",null,null,null,null,4,null,"基準",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"20分以上",null,null,null,"その他",null,null,"）",null,"矩計図"]
[null,null,null,null,null,null,3,null,"特認",null,null,null,null,"軒裏の構造等",null,null,null,"・軒裏の耐火時間",null,null,null,null,"（",null,"60分以上",null,null,null,"45分以上"]
[null,null,null,null,null,null,2,null,"型式",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"20分以上",null,null,null,"その他",null,null,"）"]
[null,null,"該当なし",null,null,null,1,null,"認証",null,null,null,null,"認定書等活用",null,null,null,null,"認定書等の活用(第七面に記入）"]
["設計内容説明書【一戸建ての住宅（木造用）】",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"（第三面）"]
["―評価項目―　"]
[null,"性能表示　　　　",null,null,null,"自己\n評価\n結果",null,"評価方法",null,null,"確認",null,null,"設計内容説明欄",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"設計\n内容\n確認欄"]
[null,"事項",null,null,null,null,null,null,null,null,"項目",null,null,"項目",null,null,null,"設計内容",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"記載図書"]
["３劣化の軽減","３－１",null,null,null,"等級",null,null,null,null,"外壁の\n軸組等",null,null,"外壁の構造等\n（地面から１m）",null,null,null,null,"外壁通気構造等",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書"]
[null,"劣化対策等級\n（構造躯体等）",null,null,null,null,3,null,"基準",null,null,null,null,null,null,null,null,null,null,"製材、集成材等又は構造用合板等＋薬剤処理（現場処理）",null,null,null,null,null,null,null,null,null,null,null,null,null,"矩計図"]
[null,null,null,null,null,null,2,null,"特認",null,null,null,null,null,null,null,null,null,null,"製材、集成材等＋小径13.5㎝",null,null,null,null,null,null,null,null,null,null,null,null,null,"伏図等"]
[null,null,null,null,null,null,1,null,"型式",null,null,null,null,null,null,null,null,null,null,"製材、集成材等＋耐久性区分Ｄ1＋小径12.0㎝以上"]
[null,null,null,null,null,null,null,null,"認証",null,null,null,null,null,null,null,null,null,null,"耐久性区分Ｄ１のうち、ヒノキ等の高耐久樹種"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Ｋ３以上の薬剤処理（工場処理）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"その他",null,"（",null,null,null,null,null,null,null,null,null,null,"）"]
[null,null,null,null,null,null,null,null,null,null,"土台",null,null,"防腐・防蟻処理",null,null,null,null,"土台に接する外壁下端水切り",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Ｋ３以上の薬剤処理（工場処理）",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"矩計図"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"耐久性区分Ｄ１のうち、ヒノキ等の高耐久樹種",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"伏図等"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"その他",null,"（",null,null,null,null,null,null,null,null,null,null,"）"]
[null,null,null,null,null,null,null,null,null,null,"浴室\n・脱衣室",null,null,"防水上の措置",null,null,null,"浴室",null,null,"浴室ユニット(JISA4416)",null,null,null,null,null,null,null,null,null,null,null,null,"仕様書"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"外壁軸組等の防腐措置等",null,null,null,null,null,null,null,null,null,null,null,null,"平面図"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"その他",null,"（",null,null,null,null,null,null,null,null,"）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"脱衣室",null,null,"防水上有効な仕上げ",null,null,null,null,null,"外壁軸組等の防腐措置等"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"その他",null,"（",null,null,null,null,null,null,null,null,"）"]
[null,null,null,null,null,null,null,null,null,null,"地盤",null,null,"防蟻措置",null,null,null,"・防蟻措置",null,null,"（",null,"有",null,null,"対象区域外）",null,null,null,null,null,null,null,"矩計図"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"べた基礎",null,null,null,"土壌処理",null,null,null,null,"その他"]
[null,null,null,null,null,null,null,null,null,null,"基礎",null,null,"基礎高さ",null,null,null,null,"地盤面から基礎上端又は土台下端までの高さが400mm以上"]
[null,null,null,null,null,null,null,null,null,null,"床下",null,null,"床下地盤面の\n防湿措置",null,null,null,null,"防湿方法",null,null,"〔",null,"コンクリート",null,null,null,null,"防湿フィルム",null,null,null,null,"矩計図"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"その他",null,"（",null,null,null,null,"）","〕",null,"伏図等"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"床下換気措置",null,null,null,null,"換気措置",null,null,"〔",null,"換気口",null,null,"ねこ土台",null,null,"その他",null,"〕"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"基礎断熱工法 ※一部基礎断熱の場合もﾁｪｯｸ（玄関、UB等）"]
[null,null,null,null,null,null,null,null,null,null,"小屋裏",null,null,"小屋裏換気の\n措置",null,null,null,null,"小屋裏 有 （換気措置による）",null,null,null,null,null,null,null,null,null,"※いずれにも該当する場合はそれぞれにチェック",null,null,null,null,"立面図"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"小屋裏 無 （屋根断熱工法・その他の措置）"]
[null,null,null,null,null,null,null,null,null,null,"構造部材等",null,null,"構造部材等",null,null,null,null,"建築基準法施行令第37条、第41条、第49条、第80条の2に適合"]
[null,null,null,null,null,null,null,null,null,null,"認定書等",null,null,"認定書等活用",null,null,null,null,"認定書等の活用(第七面に記入）"]
[null,"長期使用\n構造等\n対応措置",null,null,null,"点検措置",null,null,null,null,"床下空間",null,null,null,null,null,null,"床下空間への点検口の設置",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"平面図"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"区分された床下空間ごとに点検口を設置",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"矩計図"]
[null,null,null,null,null,null,null,null,null,null,"小屋裏空間",null,null,null,null,null,null,"小屋裏空間への点検口の設置"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"区分された小屋裏空間ごとに点検口を設置"]
[null,null,null,null,null,null,null,null,null,null,"床下空間の有効高さ",null,null,null,null,null,null,"床下空間の有効高さ　330mm以上",null,null,null,null,null,null,null,null,"（",null,"有",null,"無","）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"点検に支障のない範囲で上記寸法に満たない部分の有無"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"〔",null,"無",null,"有","（",null,null,null,null,null,null,null,"）","〕"]
["４維持管理・更新への配慮","４－１",null,null,null,"等級",null,null,null,null,"専用配管",null,null,"コンクリート内\n埋込み配管",null,null,null,null,"給水管、排水管、給湯管及びガス管のコンクリート内への",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書"]
[null,"維持管理\n対策等級\n（専用配管）",null,null,null,null,3,null,"基準",null,null,null,null,null,null,null,null,null,"埋め込み無し（コンクリートブロックを含む）"]
[null,null,null,null,null,null,2,null,"特認",null,"地中埋設管",null,null,"埋設管上の\nｺﾝｸﾘｰﾄ打設",null,null,null,null,"給水管、排水管、給湯管及びガス管上のコンクリート打設無し",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書"]
[null,null,null,null,null,null,1,null,"型式",null,null,null,null,null,null,null,null,null,null,"条例等による適用外の地域"]
[null,null,null,null,null,null,null,null,"認証",null,"排水管の性状等",null,null,"内面の仕様",null,null,null,null,"排水管内面が平滑である",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"設置状態",null,null,null,null,"たわみ、抜け等が生じないよう設置"]
[null,null,null,null,null,null,null,null,null,null,"専用排水管",null,null,"排水管の\n清掃措置",null,null,null,null,"便所、その他水廻りに必要な清掃措置の確保",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"平面図"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"※等級3の場合のみ記入"]
[null,null,null,null,null,null,null,null,null,null,"配管点検口",null,null,"主要接合部等の点検措置",null,null,null,null,"主要接合部等の点検措置等の確保",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"平面図"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"※等級3の場合のみ記入"]
["設計内容説明書【一戸建ての住宅（木造用）】",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"（第四面）"]
["―評価項目―　"]
[null,"性能表示　　　　",null,null,null,"自己\n評価\n結果",null,"評価方法",null,null,"確認",null,null,"設計内容説明欄",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"設計\n内容\n確認欄"]
[null,"事項",null,null,null,null,null,null,null,null,"項目",null,null,"項目",null,null,null,"設計内容",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"記載図書"]
["５温熱環境に関すること","５－１",null,null,null,"等級",null,null,null,null,"適用する\n基準",null,null,"適用する\n基準",null,null,null,null,"性能基準（計算）"]
[null,"断熱等\n性能等級",null,null,null,null,7,null,"基準",null,null,null,null,null,null,null,null,null,"仕様基準（等級4のみ）"]
[null,null,null,null,null,null,6,null,"特認",null,null,null,null,null,null,null,null,null,"誘導仕様基準（等級5のみ）"]
[null,6,null,null,null,null,5,null,"型式",null,null,null,null,"断熱材の\n種類と厚さ",null,null,null,"屋根",null,null,null,null,null,null,"(","添付図書による",null,null,null,null,null,"）",null,"仕様書"]
[null,null,null,null,null,null,4,null,"認証",null,null,null,null,null,null,null,null,"天井",null,null,null,null,null,null,"(","添付図書による",null,null,null,null,null,"）",null,"矩計図"]
[null,null,null,null,null,null,3,null,null,null,null,null,null,null,null,null,null,"壁",null,null,null,null,null,null,"(","添付図書による",null,null,null,null,null,"）",null,"部分詳細図"]
[null,null,null,null,null,null,2,null,null,null,null,null,null,null,null,null,null,"床",null,"外気に接する部分",null,null,null,null,"(","添付図書による",null,null,null,null,null,"）"]
[null,null,null,null,null,null,1,null,null,null,null,null,null,null,null,null,null,null,null,"その他の部分",null,null,null,null,"(","添付図書による",null,null,null,null,null,"）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"土間床等の外周部"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"外気に接する部分",null,null,null,null,"(","添付図書による",null,null,null,null,null,"）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"その他の部分",null,null,null,null,"(","添付図書による",null,null,null,null,null,"）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"※断熱材の施工箇所の位置は添付図書による"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"窓・ドア等の\n断熱性",null,null,null,"建具・ドア枠の材質・形状",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"建具形態",null,null,null,null,null,"ガラスの種類・構成等",null,null,null,null,null,null,null,null,null,"平面図"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"（","ドア",null,"）",null,"(","添付図書による",null,null,null,null,null,null,null,"）",null,"建具リスト"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"（","引戸",null,"）",null,"(","添付図書による",null,null,null,null,null,null,null,"）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"（","框ドア",null,"）",null,"(","添付図書による",null,null,null,null,null,null,null,"）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"（","窓",null,"）",null,"(","添付図書による",null,null,null,null,null,null,null,"）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"（","天窓",null,"）",null,"(","添付図書による",null,null,null,null,null,null,null,"）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"※各開口部の断熱仕様は添付図書又はリストによる"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"窓・ドア等の\n日射遮蔽措置",null,null,null,null,"方位",null,null,null,"建具の日射侵入率等",null,null,null,null,"庇・軒・付属部材",null,null,null,null,null,"仕様書"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"（","全方位",null,null,"）（","添付図書による",null,null,null,"）（","添付図書による",null,null,null,"）",null,"平面図"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"※各開口部の日射遮蔽措置は添付図書又はリストによる",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"建具リスト"]
[null,null,null,null,null,null,null,null,null,null,null,"性能基準を適用する場合",null,"外皮平均\n熱貫流率",null,null,null,null,"外皮平均熱貫流率UA　基準に適合",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"計算書"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"UAの値を評価書に記載する　※1"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"（",null,null,null,null,null,null,null,null,"W/㎡K）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"冷房期の\n平均日射\n熱取得率",null,null,null,null,"冷房期の平均日射取得率ηAc　基準に適合"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"ηAcの値を評価書に記載する　※2"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"（",null,null,null,null,null,null,null,null,"）"]
[null,null,null,null,null,null,null,null,null,null,null,"仕様基準又は誘導仕様基準を適用する場合",null,"躯体の\n断熱性能等",null,null,null,null,"熱貫流率の基準に適合",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"断熱材の熱抵抗の基準に適合",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕上表"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"開口部の\n断熱性能等",null,null,null,"・","開口部の熱貫流率",null,null,null,null,null,null,"4.7以下（仕様基準）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"2.3以下（誘導仕様基準）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"開口部の日射遮蔽措置：以下のいずれか"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"・","窓の日射取得率0.59以下"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"・","ガラスの日射取得率が0.73以下"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"・","付属部材（紙障子、外付けブラインド等）を設ける"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"・","ひさし、軒等（外壁からの出寸法がその下端から窓下端まで"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"の高さの 0.3 倍以上）を設ける"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"緩和措置有り"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"窓の断熱（2％）",null,null,null,null,null,"窓の日射（4％）"]
[null,null,null,null,null,null,null,null,null,null,"結露防止\n対策",null,null,"繊維系断熱材",null,null,null,"・","維系断熱材等の使用",null,null,null,null,null,"（",null,"有",null,"無","）",null,null,null,"仕様書"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"防湿層の設置",null,null,null,"・","防湿層の設置",null,null,null,null,null,"（",null,"有",null,"無","）",null,null,null,"仕上表"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"除外規定適用",null,null,null,"（",null,null,null,null,null,null,null,"）",null,"矩計図"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"通気層の設置",null,null,null,null,"通気層の設置",null,null,null,null,null,"（",null,"有",null,"無","）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"防風層の設置",null,null,null,null,null,"（",null,"有",null,"無","）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"除外規定適用",null,null,null,"（",null,null,null,null,null,null,null,"）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"断熱材の施工",null,null,null,null,"躯体面に断熱材を全面密着（内断熱工法）"]
[null,null,null,null,null,null,null,null,null,null,"認定書",null,null,"認定書等活用",null,null,null,null,"認定書等の活用（第七面に記入）"]
[null,"※1：等級7の場合のみ明示することができる。　（地域区分の8地域を除く。）"]
[null,"※2：等級7の場合のみ明示することができる。　（地域区分の1、2、3及び4地域を除く。）"]
["設計内容説明書【一戸建ての住宅（木造用）】",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"（第五面）"]
["―評価項目―　"]
[null,"性能表示　　　　",null,null,null,"自己\n評価\n結果",null,"評価方法",null,null,"確認",null,null,"設計内容説明欄",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"設計\n内容\n確認欄"]
[null,"事項",null,null,null,null,null,null,null,null,"項目",null,null,"項目",null,null,null,"設計内容",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"記載図書"]
["５温熱環境","５－２",null,null,null,"等級",null,null,null,null,"一次エネルギー消費量に係る基本事項等",null,null,"地域区分等",null,null,null,"以下は入力が必要な設備機器を用いる場合のみ"]
[null,"一次エネルギー消費量等級",null,null,null,null,6,null,"基準",null,null,null,null,null,null,null,null,null,"年間日射地域区分",null,null,null,null,null,"（",null,null,"）","区分"]
[null,null,null,null,null,null,5,null,"特認",null,null,null,null,null,null,null,null,null,"暖房期日射地域区分",null,null,null,null,null,"（",null,null,"）","区分"]
[null,null,null,null,null,null,4,null,"型式",null,null,null,null,"適用する基準",null,null,null,null,"性能基準（計算）",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書"]
[null,null,null,null,null,null,1,null,"認証",null,null,null,null,null,null,null,null,null,null,"値を評価書に記載する（等級6のみ）",null,null,null,null,null,null,null,null,null,null,null,null,null,"仕上表"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"設計一次エネルギー消費量（",null,null,null,null,null,null,null,null,null,"）","MJ/（㎡・年）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様基準（等級4のみ）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"誘導仕様基準（等級6のみ）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"面積等",null,null,null,null,"以下の面積はWebプログラム出力票による"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"・主たる居室の面積"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"・その他の居室の面積"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"・床面積の合計"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"外皮適用する基準",null,null,null,null,"性能基準（計算）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様基準（等級4のみ）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"誘導仕様基準（等級5のみ）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"UA値"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"（",null,null,null,null,null,"）","W/㎡K"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"冷房期の平均\n日射熱取得率"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"（",null,null,null,null,null,"）","ηAC"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"暖房期の平均\n日射熱取得率"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"（",null,null,null,null,null,"）","ηAH"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"通風の利用",null,null,null,null,"Webプログラム出力票による"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"蓄熱の利用",null,null,null,null,"Webプログラム出力票による"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"床下換気システムの利用",null,null,null,null,"Webプログラム出力票による"]
[]
[null,null,null,null,null,null,null,null,null,null,"設備機器に係る概要",null,null,"暖房方式",null,null,null,null,"Webプログラム出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"平面図"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"（",null,null,null,null,null,null,null,null,null,"）※仕様基準",null,null,null,null,"機器表"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"（",null,null,null,null,null,null,null,null,null,"）※誘導仕様基準",null,null,null,null,"系統図"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"冷房方式",null,null,null,null,"Webプログラム出力票による"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"（",null,null,null,null,null,null,null,null,null,"）※仕様基準"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"（",null,null,null,null,null,null,null,null,null,"）※誘導仕様基準"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"換気設備方式",null,null,null,null,"Webプログラム出力票による"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"（",null,null,null,null,null,null,null,null,null,"）※仕様基準"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"全般換気設備",null,null,null,null,null,null,null,null,null,"※誘導仕様基準"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"熱交換なし",null,null,null,null,"熱交換あり"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"〔",null,null,null,null,null,null,null,null,null,null,null,null,"〕"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"給湯設備",null,null,null,null,"Webプログラム出力票による"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"（",null,null,null,null,null,null,null,null,null,"）※仕様基準"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"いずれにも該当",null,null,null,null,null,null,null,null,null,"※誘導仕様基準"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"・"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"・","給湯機配管ヘッダー方式、ヘッダー分岐後の全配管径13A以下"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"・","浴室シャワー水栓：手元止水機構＋小流量吐水機構"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"・","高断熱浴槽"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"照明設備",null,null,null,null,"Webプログラム出力票による"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"非居室に白熱灯を採用していない",null,null,null,null,null,null,null,null,null,null,"※仕様基準"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"全ての照明器具：LED（同等以上）のみを採用している",null,null,null,null,null,null,null,null,null,null,"※誘導仕様基準"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"太陽光発電",null,null,null,null,"Webプログラム出力票による"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"コージェネレーションシステム",null,null,null,null,"Webプログラム出力票による"]
[]
["設計内容説明書【一戸建ての住宅（木造用）】",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"（第六面）"]
["―評価項目―　"]
[null,"性能表示　　　　",null,null,null,"自己\n評価\n結果",null,"評価方法",null,null,"確認",null,null,"設計内容説明欄",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"設計\n内容\n確認欄"]
[null,"事項",null,null,null,null,null,null,null,null,"項目",null,null,"項目",null,null,null,"設計内容",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"記載図書"]
["６空気環境","６－１",null,null,null,"設計\n内容\n説明\n欄と\n同様",null,null,null,null,"居室の内装の仕上げ材",null,null,"使用建材",null,null,null,"・",null,"製材等",null,null,null,null,"特定建材",null,null,null,"その他の建材",null,null,null,null,"仕様書"]
[null,"ホルムアルデヒド対策\n（内装及び天井裏等）",null,null,null,null,null,null,"基準",null,null,null,null,"ホルムアルデヒド発散等級",null,null,null,"・","特定建材のうち最もﾎﾙﾑｱﾙﾃﾞﾋﾄﾞ発散が大きい建材",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"建材表"]
[null,null,null,null,null,null,null,null,"特認",null,null,null,null,null,null,null,null,null,null,"F☆☆☆☆",null,null,null,null,"F☆☆☆",null,null,"\\\\\\","F☆☆"]
[null,null,null,null,null,null,null,null,"型式",null,null,null,null,null,"該当なし",null,null,null,null,"（等級3）",null,null,null,null,"（等級2）",null,null,null,"（等級1）"]
[null,null,"選択しない",null,null,null,null,null,"認証",null,"天井裏等の下地材等",null,null,"措置方法",null,null,null,"・",null,"換気又は気密措置による",null,null,null,null,null,null,null,null,"使用建材による"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"使用建材",null,null,null,"・",null,"製材等",null,null,null,null,"特定建材",null,null,null,"その他の建材"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"ホルムアルデヒド発散等級",null,null,null,"・","特定建材のうち最もﾎﾙﾑｱﾙﾃﾞﾋﾄﾞ発散が大きい建材"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"F☆☆☆☆",null,null,null,null,"F☆☆☆"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"該当なし",null,null,null,null,"（等級3）",null,null,null,null,"（等級2）"]
[null,"６－２",null,null,null,"設計\n内容\n説明\n欄と\n同様",null,null,null,null,"換気対策",null,null,"種類",null,null,null,"・",null,"機械換気設備",null,null,null,null,"その他",null,null,null,null,null,null,null,null,"平面図"]
[null,"換気対策",null,null,null,null,null,null,"基準"]
[null,null,"選択しない",null,null,null,null,null,"特認",null,"局所換気\n対策",null,null,"便所",null,null,null,"・","機械換気設備の有無",null,null,null,null,null,null,"（",null,"有",null,null,"無","）",null,"平面図"]
[null,null,null,null,null,null,null,null,"型式",null,null,null,null,null,"該当なし",null,null,"・","換気のできる窓の有無",null,null,null,null,null,null,"（",null,"有",null,null,"無","）"]
[null,null,null,null,null,null,null,null,"認証",null,null,null,null,"浴室",null,null,null,"・","機械換気設備の有無",null,null,null,null,null,null,"（",null,"有",null,null,"無","）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"該当なし",null,null,"・","換気のできる窓の有無",null,null,null,null,null,null,"（",null,"有",null,null,"無","）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"台所",null,null,null,"・","機械換気設備の有無",null,null,null,null,null,null,"（",null,"有",null,null,"無","）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"該当なし",null,null,"・","換気のできる窓の有無",null,null,null,null,null,null,"（",null,"有",null,null,"無","）"]
["７光・視環境","７－１",null,"選択しない",null,"設計\n内容\n説明\n欄と\n同様",null,null,null,null,"居室床面積に対する\n開口部の割合",null,null,null,null,null,null,"・","単純開口率",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"平面図"]
[null,"単純開口率",null,null,null,null,null,null,"基準",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"（",null,null,"％","以上",null,"）",null,"建材表"]
[null,"７－２",null,"選択しない",null,null,null,null,"特認",null,"方位別開口部の\n面積合計の比",null,null,null,null,null,null,"北面（",null,null,null,"％","以上",null,"）東面（",null,null,null,"％","以上",null,"）"]
[null,"方位別開口比",null,null,null,null,null,null,"型式",null,null,null,null,null,null,null,null,"南面（",null,null,null,"％","以上",null,"）西面（",null,null,null,"％","以上",null,"）"]
[null,null,null,null,null,null,null,null,"認証",null,null,null,null,null,null,null,null,"真上（",null,null,null,"％"]
["８音環境","８－４",null,null,null,"北面",null,null,null,null,"開口部の\n遮音性能",null,null,"北の方位の\nｻｯｼ・ﾄﾞｱｾｯﾄ\n（遮音性能が\n最低のもの）",null,null,null,null,"ＪＩＳの遮音等級表示品",null,null,null,null,null,null,null,null,"(",null,null,null,"）",null,"仕上表"]
[null,"透過損失等級",null,null,null,null,3,null,"基準",null,null,null,null,null,null,null,null,null,"その他試験を行うもの",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"建材表"]
[null,"（外壁開口部）",null,null,null,null,2,null,"特認",null,null,null,null,null,null,null,null,null,null,"試験実施機関名称",null,null,null,null,"(",null,null,null,null,null,null,"）"]
[null,null,"選択しない",null,null,null,1,null,"型式",null,null,null,null,null,null,null,null,null,null,"透過損失の平均値",null,null,null,null,null,null,"（",null,null,"dB",null,"）"]
[null,null,null,null,null,"東面",null,null,"認証",null,null,null,null,"東の方位の\nｻｯｼ・ﾄﾞｱｾｯﾄ\n（遮音性能が\n最低のもの）",null,null,null,null,"ＪＩＳの遮音等級表示品",null,null,null,null,null,null,null,null,"(",null,null,null,"）"]
[null,null,null,null,null,null,3,null,null,null,null,null,null,null,null,null,null,null,"その他試験を行うもの"]
[null,null,null,null,null,null,2,null,null,null,null,null,null,null,null,null,null,null,null,"試験実施機関名称",null,null,null,null,"(",null,null,null,null,null,null,"）"]
[null,null,null,null,null,null,1,null,null,null,null,null,null,null,null,null,null,null,null,"透過損失の平均値",null,null,null,null,null,null,"（",null,null,"dB",null,"）"]
[null,null,null,null,null,"南面",null,null,null,null,null,null,null,"南の方位の\nｻｯｼ・ﾄﾞｱｾｯﾄ\n（遮音性能が\n最低のもの）",null,null,null,null,"ＪＩＳの遮音等級表示品",null,null,null,null,null,null,null,null,"(",null,null,null,"）"]
[null,null,null,null,null,null,3,null,null,null,null,null,null,null,null,null,null,null,"その他試験を行うもの"]
[null,null,null,null,null,null,2,null,null,null,null,null,null,null,null,null,null,null,null,"試験実施機関名称",null,null,null,null,"(",null,null,null,null,null,null,"）"]
[null,null,null,null,null,null,1,null,null,null,null,null,null,null,null,null,null,null,null,"透過損失の平均値",null,null,null,null,null,null,"（",null,null,"dB",null,"）"]
[null,null,"該当無し(北)",null,null,"西面",null,null,null,null,null,null,null,"西の方位の\nｻｯｼ・ﾄﾞｱｾｯﾄ\n（遮音性能が\n最低のもの）",null,null,null,null,"ＪＩＳの遮音等級表示品",null,null,null,null,null,null,null,null,"(",null,null,null,"）"]
[null,null,"該当無し(東)",null,null,null,3,null,null,null,null,null,null,null,null,null,null,null,"その他試験を行うもの"]
[null,null,"該当無し(南)",null,null,null,2,null,null,null,null,null,null,null,null,null,null,null,null,"試験実施機関名称",null,null,null,null,"(",null,null,null,null,null,null,"）"]
[null,null,"該当無し(西)",null,null,null,1,null,null,null,null,null,null,null,null,null,null,null,null,"透過損失の平均値",null,null,null,null,null,null,"（",null,null,"dB",null,"）"]
[null,null,null,null,null,null,null,null,null,null,"認定書等",null,null,"認定書等活用",null,null,null,null,"認定書等の活用(第七面欄に記入）"]
["設計内容説明書【一戸建ての住宅（木造用）】",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"（第七面）"]
["―評価項目―　"]
[null,"性能表示　　　　",null,null,null,"自己\n評価\n結果",null,"評価方法",null,null,"確認",null,null,"設計内容説明欄",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"設計\n内容\n確認欄"]
[null,"事項",null,null,null,null,null,null,null,null,"項目",null,null,"項目",null,null,null,"設計内容",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"記載図書"]
["９高齢者等への配慮","９－１",null,null,null,"等級",null,null,null,null,"部屋の\n配置等",null,null,"特定寝室の位置",null,null,null,"・","特定寝室（室名：",null,null,null,null,null,null,null,null,null,null,null,null,"）",null,"仕様書"]
[null,"高齢者等配慮\n対策等級\n（専用部分）",null,null,null,null,5,null,"基準",null,null,null,null,null,null,null,null,"・","特定寝室と同一階に配置すべき室等の基準に適合",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"平面図"]
[null,null,null,null,null,null,4,null,"特認",null,null,null,null,null,null,null,null,null,null,"便所（等級2・3・4・5）",null,null,null,null,null,null,null,null,null,null,null,null,null,"矩計図"]
[null,null,"選択しない",null,null,null,3,null,"型式",null,null,null,null,null,null,null,null,null,null,"浴室（等級4・5）"]
[null,null,null,null,null,null,2,null,"認証",null,null,null,null,null,null,null,null,null,null,"玄関　洗面所　脱衣室　食事室（等級5）"]
[null,null,null,null,null,null,1,null,null,null,null,null,null,null,null,null,null,"・","基準に適合したホームエレベーター",null,null,null,null,null,null,null,"（",null,"有",null,"無","）"]
[null,null,null,null,null,null,null,null,null,null,"段差",null,null,"日常生活空間内",null,null,null,null,"日常生活空間内の床が段差のない構造"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"・","適用除外の段差"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"玄関出入口",null,null,"・くつずりと玄関外側20ｍｍ以下"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"・くつずりと玄関土間5ｍｍ以下"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"玄関上りかまち",null,null,null,null,null,null,"ｍｍ"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"浴室出入口",null,null,null,null,null,null,"ｍｍ以下"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"バルコニー出入口",null,null,null,null,null,null,"ｍｍ"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"居室の部分の床とその他の床の段差",null,null,null,null,null,null,null,null,null,"ｍｍ"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"その他の段差\t（室名：\t\t\t\t\t",null,null,null,null,null,null,null,null,null,null,null,"）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"日常生活空間外",null,null,null,null,"日常生活空間外の床が段差のない構造（5ｍｍ以下）"]
[null,null,null,null,null,null,null,null,null,null,"階段",null,null,"勾配等",null,null,null,null,"階段の勾配等の基準に適合",null,null,null,null,null,null,"踏面(T)195ｍｍ以上、蹴上(R)、R/T=22/21、550ｍｍ≦T+2R≦650ｍｍ"]
[null,null,null,null,null,null,null,null,null,null,null,"階段無",null,"蹴込み",null,null,null,null,"蹴込みが30mm以下"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"・","蹴込み板の設置　（等級4・5）",null,null,null,null,null,null,null,"（",null,"有",null,"無","）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"形式等",null,null,null,"・","回り階段等の設置　（等級4・5）",null,null,null,null,null,null,null,"（",null,"有",null,"無","）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"・","最上段の通路等への食込（等級4・5)",null,null,null,null,null,null,null,"（",null,"有",null,"無","）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"・","最下段の通路等への突出（等級4・5）",null,null,null,null,null,null,null,"（",null,"有",null,"無","）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"ホームエレベーターあり（適用除外）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"滑り防止",null,null,null,"・","滑り止め　（等級5）",null,null,null,null,null,null,null,"（",null,"有、踏面と同一面）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"段鼻",null,null,null,"・","段鼻の出　（等級5）",null,null,null,null,null,null,null,"（",null,"有",null,"無","）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"階段の幅員等",null,null,null,null,"建築基準法施行令第23条～第27条までの基準に適合"]
[null,null,null,null,null,null,null,null,null,null,"手摺",null,null,"手摺の設置",null,null,null,"・","階段",null,null,"　片側（等級4・3・2・1）",null,null,null,null,null,null,"両側（等級5）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"便所"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"浴室",null,null,"浴槽出入り（等級4・3・2）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"浴槽出入り、浴槽内立ち座り、姿勢保持、洗い場"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"の立ち座り（等級5）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"玄関（",null,null,"設置準備",null,"）",null,"脱衣室",null,"（",null,"設置準備",null,"）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"転落防止\n手摺の設置",null,null,null,null,"バルコニー（",null,null,null,"手すりの設置",null,null,null,null,"転落のおそれなし）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"窓(２階以上)（",null,null,null,"手すりの設置",null,null,null,null,"転落のおそれなし）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"廊下及び階段"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"（",null,"開放なし",null,null,"手すりの設置",null,null,null,null,"転落のおそれなし）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"手すり子の内法寸法　110ｍｍ以下"]
[null,null,null,null,null,null,null,null,null,null,"通路等\nの幅員\n(日常生活\n空間内）",null,null,"通路の幅員",null,null,null,null,"通路幅員の基準に適合"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"出入口の幅員",null,null,null,null,"玄関・浴室出入口の幅員の基準に適合"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"玄関・浴室以外出入口の幅員の基準に適合"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"（",null,"工事を伴わない撤去等",null,null,null,null,null,null,"軽微な改造）"]
[null,null,null,null,null,null,null,null,null,null,"寝室、便所及び浴室\n(日常生活\n空間内）",null,null,"浴室の寸法",null,null,null,null,"内法面積、短辺寸法の基準に適合"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"便所の寸法等",null,null,null,null,"内法寸法の基準に適合",null,null,null,null,null,null,"便器と壁の距離の基準に適合"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"ドアの開放により確保",null,null,null,null,null,"軽微な改造により確保"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"工事を伴わない撤去等により確保"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"腰掛け式便器を設置"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"特定寝室面積",null,null,null,null,"特定寝室の内法面積の確保"]
["設計内容説明書【一戸建ての住宅（木造用）】",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"（第八面）"]
["―評価項目―　"]
[null,"性能表示　　　　",null,null,null,"自己\n評価\n結果",null,"評価方法",null,null,"確認",null,null,"設計内容説明欄",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"設計\n内容\n確認欄"]
[null,"事項",null,null,null,null,null,null,null,null,"項目",null,null,"項目",null,null,null,"設計内容",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"記載図書"]
["10防犯","１０－１",null,null,null,"設計\n内容\n説明\n欄と\n同様",null,null,null,null,null,"１階",null,"区分及び措置",null,null,null,"・区分a",null,0,"侵入防止上有効な措置（",null,null,null,null,null,null,"雨戸等による対策",null,null,null,"）",null,"平面図"]
[null,"開口部の\n侵入防止対策",null,null,null,null,null,null,"基準",null,null,null,null,null,null,null,null,null,null,null,"その他",null,null,null,"該当する開口部無し",null,null,null,null,null,null,null,null,"立面図"]
[null,null,null,null,null,null,null,null,"特認",null,null,null,null,null,null,null,null,"・区分b",null,null,"侵入防止上有効な措置（",null,null,null,null,null,null,"雨戸等による対策",null,null,null,"）"]
[null,null,"選択しない",null,null,null,null,null,"型式",null,null,null,null,null,null,null,null,null,null,null,"その他",null,null,null,"該当する開口部無し"]
[null,null,null,null,null,null,null,null,"認証",null,null,null,null,null,null,null,null,"・区分c",null,null,"侵入防止上有効な措置（",null,null,null,null,null,null,"雨戸等による対策",null,null,null,"）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"その他",null,null,null,"該当する開口部無し"]
[null,null,null,null,null,null,null,null,null,null,null,"２階",null,"区分及び措置",null,null,null,"・区分a",null,null,"侵入防止上有効な措置（",null,null,null,null,null,null,"雨戸等による対策",null,null,null,"）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"その他",null,null,null,"該当する開口部無し"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"・区分b",null,null,"侵入防止上有効な措置（",null,null,null,null,null,null,"雨戸等による対策",null,null,null,"）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"その他",null,null,null,"該当する開口部無し"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"・区分c",null,null,"侵入防止上有効な措置（",null,null,null,null,null,null,"雨戸等による対策",null,null,null,"）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"その他",null,null,null,"該当する開口部無し"]
[null,null,null,null,null,null,null,null,null,null,null,"３階",null,"区分及び措置",null,null,null,"・区分a",null,null,"侵入防止上有効な措置（",null,null,null,null,null,null,"雨戸等による対策",null,null,null,"）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"その他",null,null,null,"該当する開口部無し"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"・区分b",null,null,"侵入防止上有効な措置（",null,null,null,null,null,null,"雨戸等による対策",null,null,null,"）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"その他",null,null,null,"該当する開口部無し"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"・区分c",null,null,"侵入防止上有効な措置（",null,null,null,null,null,null,"雨戸等による対策",null,null,null,"）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"その他",null,null,null,"該当する開口部無し"]
[]
["―認定書等―　"]
["性能表示事項",null,null,null,null,null,null,"種別",null,null,null,null,null,null,null,null,null,null,null,"番号",null,null,null,null,null,null,null,"認定書等添付状況"]
[null,null,null,null,null,null,null,null,"型式",null,null,null,"認証",null,null,null,"特認",null,null,null,null,null,null,null,null,null,null,null,"添付",null,null,null,"表紙のみ添付"]
[null,null,null,null,null,null,null,null,"型式",null,null,null,"認証",null,null,null,"特認",null,null,null,null,null,null,null,null,null,null,null,"添付",null,null,null,"表紙のみ添付"]
[null,null,null,null,null,null,null,null,"型式",null,null,null,"認証",null,null,null,"特認",null,null,null,null,null,null,null,null,null,null,null,"添付",null,null,null,"表紙のみ添付"]
[null,null,null,null,null,null,null,null,"型式",null,null,null,"認証",null,null,null,"特認",null,null,null,null,null,null,null,null,null,null,null,"添付",null,null,null,"表紙のみ添付"]
[null,null,null,null,null,null,null,null,"型式",null,null,null,"認証",null,null,null,"特認",null,null,null,null,null,null,null,null,null,null,null,"添付",null,null,null,"表紙のみ添付"]
[null,null,null,null,null,null,null,null,"型式",null,null,null,"認証",null,null,null,"特認",null,null,null,null,null,null,null,null,null,null,null,"添付",null,null,null,"表紙のみ添付"]
[null,null,null,null,null,null,null,null,"型式",null,null,null,"認証",null,null,null,"特認",null,null,null,null,null,null,null,null,null,null,null,"添付",null,null,null,"表紙のみ添付"]
[null,null,null,null,null,null,null,null,"型式",null,null,null,"認証",null,null,null,"特認",null,null,null,null,null,null,null,null,null,null,null,"添付",null,null,null,"表紙のみ添付"]
[null,null,null,null,null,null,null,null,"型式",null,null,null,"認証",null,null,null,"特認",null,null,null,null,null,null,null,null,null,null,null,"添付",null,null,null,"表紙のみ添付"]
[null,null,null,null,null,null,null,null,"型式",null,null,null,"認証",null,null,null,"特認",null,null,null,null,null,null,null,null,null,null,null,"添付",null,null,null,"表紙のみ添付"]
[null,null,null,null,null,null,null,null,"型式",null,null,null,"認証",null,null,null,"特認",null,null,null,null,null,null,null,null,null,null,null,"添付",null,null,null,"表紙のみ添付"]
[null,null,null,null,null,null,null,null,"型式",null,null,null,"認証",null,null,null,"特認",null,null,null,null,null,null,null,null,null,null,null,"添付",null,null,null,"表紙のみ添付"]
[null,null,null,null,null,null,null,null,"型式",null,null,null,"認証",null,null,null,"特認",null,null,null,null,null,null,null,null,null,null,null,"添付",null,null,null,"表紙のみ添付"]
[null,null,null,null,null,null,null,null,"型式",null,null,null,"認証",null,null,null,"特認",null,null,null,null,null,null,null,null,null,null,null,"添付",null,null,null,"表紙のみ添付"]
[null,null,null,null,null,null,null,null,"型式",null,null,null,"認証",null,null,null,"特認",null,null,null,null,null,null,null,null,null,null,null,"添付",null,null,null,"表紙のみ添付"]